## Past Dispatches (1)
Sites | Dispatch Date & Time | Enrollment (kW) | Delivered (kW) | Performance (%) | Program
Pawtucket Water Supply | Dec 11, 2023 10:47am - Dec 11, 2023 12:10pm EST | 590 | 564.14 | 96 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Sep 07, 2023 4:00pm - Sep 07, 2023 7:00pm EDT | 950 | 632.13 | 67 | National Grid - Utility Demand Response
Pawtucket Water Supply | Sep 06, 2023 5:00pm - Sep 06, 2023 8:00pm EDT | 950 | 773.63 | 81 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 28, 2023 4:00pm - Jul 28, 2023 7:00pm EDT | 950 | 617.57 | 65 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 27, 2023 4:00pm - Jul 27, 2023 7:00pm EDT | 950 | 688.17 | 72 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 17, 2023 5:00pm - Jul 17, 2023 8:00pm EDT | 950 | 603.1 | 63 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 12, 2023 5:00pm - Jul 12, 2023 8:00pm EDT | 950 | 672 | 71 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 08, 2023 4:58pm - Jun 08, 2023 6:09pm EDT | 770 | 497.06 | 65 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 24, 2022 4:21pm - Dec 24, 2022 6:56pm EST | 470 | 598.74 | 127 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 14, 2022 9:25am - Dec 14, 2022 10:41am EST | 470 | 401.84 | 85 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 13, 2022 4:54pm - Dec 13, 2022 6:13pm EST | 470 | 467.18 | 99 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Aug 09, 2022 4:00pm - Aug 09, 2022 7:00pm EDT | 1020 | 788.2 | 77 | National Grid - Utility Demand Response
Pawtucket Water Supply | Aug 08, 2022 4:00pm - Aug 08, 2022 7:00pm EDT | 1020 | 860.5 | 84 | National Grid - Utility Demand Response
Pawtucket Water Supply | Aug 04, 2022 4:00pm - Aug 04, 2022 7:00pm EDT | 1020 | 789.43 | 77 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 28, 2022 6:28pm - Jul 28, 2022 7:30pm EDT | 660 | -54.46 | -8 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Jul 23, 2022 7:44pm - Jul 23, 2022 8:48pm EDT | 660 | 639.32 | 97 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Jul 21, 2022 4:00pm - Jul 21, 2022 7:00pm EDT | 1020 | 671.93 | 66 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 20, 2022 5:51pm - Jul 20, 2022 7:48pm EDT | 660 | 75.1 | 11 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Jul 20, 2022 4:00pm - Jul 20, 2022 7:00pm EDT | 1020 | 958.23 | 94 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 13, 2022 4:00pm - Jul 13, 2022 7:00pm EDT | 1020 | 721.1 | 71 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 07, 2022 8:51am - Jun 07, 2022 10:07am EDT | 660 | 772.24 | 117 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 14, 2021 2:13pm - Dec 14, 2021 3:22pm EST | 500 | 475.37 | 95 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Aug 26, 2021 4:00pm - Aug 26, 2021 7:00pm EDT | 600 | 713.93 | 119 | National Grid - Utility Demand Response
Pawtucket Water Supply | Aug 13, 2021 4:00pm - Aug 13, 2021 7:00pm EDT | 600 | 744.23 | 124 | National Grid - Utility Demand Response
Pawtucket Water Supply | Aug 12, 2021 4:00pm - Aug 12, 2021 7:00pm EDT | 600 | 835.23 | 139 | National Grid - Utility Demand Response
Pawtucket Water Supply | Aug 11, 2021 4:00pm - Aug 11, 2021 7:00pm EDT | 600 | 800.23 | 133 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 30, 2021 4:00pm - Jun 30, 2021 7:00pm EDT | 600 | 692.27 | 115 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 29, 2021 4:00pm - Jun 29, 2021 7:00pm EDT | 600 | 870.37 | 145 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 07, 2021 3:20pm - Jun 07, 2021 4:37pm EDT | 550 | 522.72 | 95 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 08, 2020 4:30pm - Dec 08, 2020 5:38pm EST | 500 | 357.61 | 72 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Aug 11, 2020 4:00pm - Aug 11, 2020 7:00pm EDT | 600 | 0 | 0 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 27, 2020 4:00pm - Jul 27, 2020 7:00pm EDT | 600 | 0 | 0 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jul 20, 2020 4:00pm - Jul 20, 2020 7:00pm EDT | 600 | 0 | 0 | National Grid - Utility Demand Response
Pawtucket Water Supply | Jun 09, 2020 12:44pm - Jun 09, 2020 1:52pm EDT | 550 | 408.31 | 74 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Dec 09, 2019 9:33am - Dec 09, 2019 10:45am EST | 615 | 464.48 | 76 | ISO-NE 30 Minute Demand Response
Pawtucket Water Supply | Jun 10, 2019 4:03pm - Jun 10, 2019 5:25pm EDT | 550 | 460.61 | 84 | ISO-NE 30 Minute Demand Response